## ROBINS-I
| bias due to confounding | [9 empty] | selection of participants | [6 empty] | classification of interventions |  |  |  |  | Deviations from intended interventions | [7 empty] | Due to missing data | [6 empty] | measurement of outcomes | [5 empty] | selection of the reported result | [5 empty] | Overall
Author (year) | 1.1 Is there potential for confounding of the effect of intervention in this study? (If N/PN no further questions need answering) | 1.2 Was the analysis based on splitting participants’ follow up time according to intervention received? If N/PN, answer questions relating to baseline confounding (1.4 to 1.6) If Y/PY, go to question 1.3. | 1.3 Were intervention discontinuations or switches likely to be related to factors that are prognostic for the outcome? If N/PN, answer questions relating to baseline confounding (1.4 to 1.6) If Y/PY, answer questions relating to both baseline and time-varying confounding (1.7 and 1.8) | Baseline only confouding only 1.4. Did the authors use an appropriate analysis method that controlled for all the important confounding domains? | 1.5. If Y/PY to 1.4: Were confounding domains that were controlled for measured validly and reliably by the variables available in this study? | 1.6. Did the authors control for any post- intervention variables that could have been affected by the intervention? | Questions relating to baseline and time-varying confounding 1.7. Did the authors use an appropriate analysis method that controlled for all the important confounding domains and for time-varying confounding? | 1.8. If Y/PY to 1.7: Were confounding domains that were controlled for measured validly and reliably by the variables available in this study? | Risk of bias judgement | Notes (refer to signalling question number) | 2.1 Was selection of participants into the study (or into the analysis) based on participant characteristics observed after the start of intervention? (If N/PN go to 2.4) | 2.2 If Y/PY to 2.1: were the post intervention variables that influenced selection likely to be associated with interventions? | 2.3 If Y/PY to 2.2 were the post-intervention variables that influenced selection likely to be influenced by the outcome or a cause of the outcome? | 2.4 Do start of follow up and start of intervention coincide for most participants? | 2.5 If Y/PY to 2.2 and 2.3 or N/PN to 2.4 were adjustment techniques used that are likely to correct for the presence of selection biase? | Risk of bias judgement | Notes (refer to signalling question number) | 3.1 Were intervention groups clearly defined? | 3.2 Was the information used to define intervention groups recorded at the start of the intervention? | 3.3 Could classification of intervention status have been affected by knowledge of the outcome or risk of the outcome? | Risk of bias judegement | Notes (refer to signalling question number) | Effect of assignment to intervention 4.1. Were there deviations from the intended intervention beyond what would be expected in usual practice? | 4.2. If Y/PY to 4.1: Were these deviations from intended intervention unbalanced between groups and likely to have affected the outcome? | effect of starting and adhering to intervention 4.3. Were important co-interventions balanced across intervention groups? | 4.4. Was the intervention implemented successfully for most participants? | 4.5. Did study participants adhere to the assigned intervention regimen? | 4.6. If N/PN to 4.3, 4.4 or 4.5: Was an appropriate analysis used to estimate the effect of starting and adhering to the intervention? | Risk of bias judgement | Notes (refer to signalling question number) | 5.1 Were outcome data available for all, or nearly all, participants? | 5.2 Were participants excluded due to missing data on intervention status? | 5.3 Were participants excluded due to missing data on other variables needed for the analysis? | 5.4 If PN/N to 5.1, or Y/PY to 5.2 or 5.3: Are the proportion of participant and reasons for missing data similar across interventions? | 5.5 If PN/N to 5.1, or Y/PY to 5.2 or 5.3: Is there evidence that results were robust to the presence of missing data? | risk of bias judgement | Notes (refer to signalling question number) | 6.1 Could the outcome measure have been influenced by knowledge of the intervention received? | 6.2 Were outcome assessors aware of the intervention received by study participants? | 6.3 Were the methods of outcome assessment comparable across intervention groups? | 6.4 Were any systematic errors in measurement of the outcome related to intervention received? | risk of bias judgement | Notes (refer to signalling question number) | Is the reported effect estimate likely to be selected, on the basis of the results, from… | 7.1. ... multiple outcome measurements within the outcome domain? | 7.2 ... multiple analyses of the intervention-outcome relationship? | 7.3 ... different subgroups? | risk of bias judgement | Notes (refer to signalling question number) | Risk of bias judgement
Hernandez (2022) | PY | N | NA | NA | NA | N | N | NA | Serious | 1.1 did not provide any analyses that controlled for possible confounding 1.4 single group could not assess differences between groups | N | NA | NA | PY | NA | Low | seems appropriate | N | N | PN | Serious | eligibility criteria is clear. 3.3 PN could be a N as I don't think this would effect the outcome | NI | NA | NI | Y | Y | NA | Moderate | I don't think it would be possible to not adhere. There were issues with sending data but majority of these were received. | PY | N | N | NA | NA | Low | no concerns | PN | NI | NI | PN | Moderate | Mainly due to lack of information |  | N | N | N | Low | No concerns | Serious
Forleo (2013) | PY | N | NA | NA | NA | N | N | NA | Serious | 1.1 did not provide any analyses that controlled for possible confounding 1.4 single group could not assess differences between groups | N | NA | NA | NI | NA | Moderate | 2.4 no study dates provided | Y | Y | PN | Low | There was a lack of exclusion criteria but the eligibility criteria is fairly clear | N | NA | NI | Y | Y | NA | Low |  | Y | N | N | NA | NA | Low |  | N | PY | Y | PN | Moderate | Lack of information |  | N | N | N | Low | No concerns | Moderate
Vigdor (2020) | PY | N | NA | NA | NA | N | N | NA | Serious | Exploratory cohort (one arm), study and no confounders were controlled for. Confounding inherently not controllable. Doesn't appear to be analysed in a way which controls for confounders | N | NA | NA | NI | NA | Moderate | Graded low as I appears all participants eligible for the target trial were included in this study. Not enough information to determine if start of follow-up and start of intervention coincided. Based on lack of information in one Q. If NI for multiple Qs then NI as an overall is acceptable | PY | PY | N | Low | 3.1 answered PY with limited information because of the intervention and pt type - all were enrolled. Intervention status is well defined; and (ii) Intervention definition is based solely on information collected at the time of intervention | NI | NA | NI | PY | PY | NA | Moderate | Moderate due to limited information available about adherence, it is possible patients did not act on alerts/engage with clinicians calls. However due to the subcutaneous insertion of the CIED and alert system and health status serious non compliance or deviations from intended interventions are unlikely | PY | N | N | NA | NA | Low | 5.1 - numbers of people with alerts tally with those enrolled | N | PY | NI | PN | Moderate | 6.1 - OMS determined by clinical records/standard clinical practice and automated alerts so this is unlikely. |  | NI | NI | PN | NI | 7.1 The outcome domain is broadly specified in the abstract, but not the other elements which comprise an outcome domain (measurement (sale), metric, aggregation, time points) 7.2 There is no pre-available statistical analysis plan to determine if multiple analysis has been done. 7.3 no subgroups have been reported. There is too little information to make a judgement (for example, if only an abstract is available for the study). | Serious
Santini (2012) | PY | N | NA | NA | NA | N | PN | NA | Serious |  | N | NA | NA | NI | NA | Moderate |  | PY | PY | N | Low |  | PN | NA |  |  |  |  | Low | Framed as ITT seen as it is integrated into clinical practice. | PY | PN | N | NA | NA | Low |  | N | PY | NI | PN | Moderate |  |  | NI | NI | PN | NI | Abstract | Serious
Benezet Mazuecos (2016) | PY | N | NA | NA | NA | N | PN | NA | Serious |  | N | NA | NA | NI | NA | Moderate |  | PY | PY | N | Low |  | PN | NA |  |  |  |  | Low |  | PY | PN | PN | NA | NA | Low |  | N | PY | NI | PN | Moderate |  |  | NI | NI | PN | NI | Abstract | Serious
Shapiro (2017) | Y | N | NA | N | NA | N | N | NA | Critical | Critical due to retrospective nature of the single arm cohort. | Y | PY | PY | NI | N | Critical |  | Y |  | PN | NI | 3.2 - Retrospective study so answer should be NA? 3.3 - Answered as PN on the basis that medical records should be objectively recorded. I have answered NI here because I don't think these questions are appropriate or quite 'fit' for the study design we are assessing. |  |  | PY | PY | PY | N | Moderate | 4.3 - Patients in both 'arms' received home care and SoC 4.4 considering eligibility was restricted to pts who adhered then PY here 4.5 - PY due to eligibility criteria Patients non-compliant with medication therapy home health therapy and CorVue follow up were not included in the 'intervention' sample, therefore I am treating this a 'PP' effects of starting and adhering to intervention. | PY | PN | NI | NA | NA | Low | Results were simple counts and frequency with all data appearing complete and reported for disclosed outcomes/variables | PN | Y | NI | PN | Moderate |  |  | PN | PN | PN | Low | 7.1 There is no information here but it is difficult to see how 30 day re-admissions could be measured in multiple different ways. So answered PN 7.2 PN due to the lack of analysis and simple counts and frequencies provided. | Critical
Wakabayashi (2021) | Y | N | NA | N | NA | N | N | NA | Critical |  | Y | PY | PY | PN | N | Critical | 2.4 answered PN because the first follow up is one month after the operation when the algorithm is turned on so there is a period of time from intervention to follow-up that is 'lost' so if the outcome occurred it would not be captured as intended. Participants whose fUP occurred at different clinics were excluded and if ITI data were unavaible. | Y | PY | PY | Serious | Assignment into the study could have been determined by knowledge of the outcome | PN | NA |  |  |  |  | Low |  | PY | PN | Y | NA | N | Moderate | 5.3 PTS were excluded from being selected into the study but more relevant to this domain is 'enrolled' pts excluded from analyses... 'One patient was excluded because of CorVue data unavailability' | PN | Y |  | PN | Moderate |  |  | PN | PN | PN | Low | No pre-published protocol but based on the FT it seems unlikely. the method of reporting and outcome measure type/description seems in keeping with other published articles in this field. | Critical
Burri (2018) | Y | N | NA | NA | NA | NI | PN | NA | Critical | 1.1 - possibility of confounding despite initial randomisation because of pooling of pts in both trial arms for this post hoc analysis. 1.4 - Authors stratified and according to low, med and high risk but this is unlikely to control for all important confounding domains. | Y | Y | Y | NI | N | Critical | Critical because selection onto this study was very strongly related to intervention and outcome | PY | N | PY | Serious | based on assignment into this study being anyone with a complete data set who were enrolled in MORE-CARE Major aspects of the assignment of the intervention status were determined in a way that could have been affected by knowledge of the outcome. | PN | NA |  |  |  |  | Low |  | Y | Y | PY | NI | NI | Serious | approx. n143 Missing participants when comparing NCT recruited to MORE-CARE Vs enrolment on this study. Analysis is unlikely to have removed risk of bias. | PN | PY | PY | PN | Moderate | Hospitalisations provided a pretty objective endpoint but still may have been influence by clinical expertise. In this study an endpoint adjudication committee classified all events relating to OMS. 6.2 MORE-CARE is reported as being open label. And it is unclear whether the adjudication cmte was blinded |  | PN | PY | PY | Serious | Serious due to no pre published protocol and post hoc analysis. | Critical
Garner (2022) | Y | N | NA | NA | NA | N | N | NA | Critical | Confounding is expected due to study design, inherently not controllable. | N | NA | NA | PY | NA | Low | It seems that everyone who would have been eligible has been included in the study and the start of follow up and intervention coincided | PY | PY | PN | Low | 3.1 - response to High risk HFRS is documented in a flow along with Educational sessions were undertaken on an ongoing basis to familiarise the community HF teams with the device diagnostics, the HFRS and the clinical actions resulting from evaluation of these data | PN | NA |  |  |  |  | Low | Assessed as a hypothetical ITT trial | PY | NI | NI | NA | NA | Low | There is no comment regarding missing outcome data but data reported in table 1 (pt characteristics) and 2 (outcome data) appear similar. | PY | Y | Y | PY | Serious | 6.1 - 564/749 had alerts turned on and for alerts that happened out of the scheduled period (unplanned hospital or while an inpatient it is possible this influence outcomes like treatment/medication. 6.4 Yes misclassification bias is possible due to subjective nature of some outcome and where knowledge of the intervention and outcome co-occur and due to false negatives which aren't reported. Serious due to awareness of intervention and awareness of intervention plus outcome inn some instances and the subjective nature of some outcomes 9changes to clinical care) which rely on clinical judgement and expertise. Objective endpoints like death are less likely to be impacted. |  | PN | PN | PN | Low | Low due to simplicity of presenting N and % and because the outcomes are common. | Critical
Ahmed (2022) | Y | N | NA | NA | NA | N | N | NA | Critical | Confounding is expected due to study design, inherently not controllable. | N | NA | NA | PY | NA | Low |  | PY | PY | PN | Low |  | PN | NA |  |  |  |  | Low | Assessed as a hypothetical ITT trial | PY | PN | PN | NA | NA | Low | 5.1 the total number of pts with death outcome data available is not reported. However data was obtained from NHS digital which acquires mortality data from the Office of National Statistics using information derived from death certificates. As death registration is mandatory in the UK missing data is unlikely. | PN | PY | PY | PN | Low | Objective endpoint. |  | PN | PN | PN | Low |  | Critical
Virani (2018) | Y | N | NA | NA | NA | N | N | NA | Critical | Confounding is expected due to study design, inherently not controllable. | N | NA | NA | PY | NA | Low |  | PY | PY | PN | Low |  | PN | NA |  |  |  |  | Low | Assessed as a hypothetical ITT trial | PN | NI | PN | NA | N | Serious | 5.1 - PN - Many outcomes do not report available data according to number of subjects, However to 6MWT QoL includes only data for only 60% of the enrolled participants and the reasons are not given. 5.2 - NI - | PN | PY |  | PN | Moderate | 6.2 - Some outcome measures like health care utilisation (HCU) were adjudicated but there is n mention of being blinded. 6.3 NA - doesn’t have two arms 6.4 |  | PN | PN | PN | Low |  | Critical
Zile (2020) FT plus two abstracts | Y | N | N | Y | NI | N | N | NA | Serious | 1.4 - With reference to the mortality outcome the authors adjusted for age, gender, and clinical history of hypertension, myocardial infarction, coronary artery disease, diabetes, HF, atrial fibrillation, vascular disease, chronic kidney disease, and stroke/transient ischaemic attack. 1.5 -NI about the ways the confounding domains were measured using validated methods. Confounding is expected, more than one domain was adjusted for in the analysis for the outcome mortality However there are unknowns about the reliability and validity of measurements used | Y | PY | PY | PY | N | Serious | 2.1 - Y - it was a retrospective analysis 'retrospective analysis of a real world data analysis' So outcome and intervention were likely known to assessors. 2.2 and 2.3 - PY -it is possible retrospective include of participants into the analysis could have been based on both the intervention (Triage HFRS) and the outcome (mortality) 2.4 - PY - there was a six month period from implant to baseline HFRS (Low, Med, High) data collection. Follow up began after the six month point and all deaths were recorded in the six month period were censored. serious - selection onto the study related to intervention and outcome. | PY | PY | PY | Serious | Major aspects of the assignment of the intervention status were determined in a way that could have been affected by knowledge o the outcome. | PN | NA |  |  |  |  | Low | Assessed as low because as a real world study it's likely to be highly reflective of clinical practice. | PY | PN | NI | NA | NA | Moderate | 5.1 - PY - of the 22,901 participants analysed, 22,542 had 6 month of device data to evaluate baseline risk for the mortality outcome. All participants were seemingly included in the HFE risk using monthly download method. Have marked PY to this and PN to 5.2 using the mortality outcome because reasons are explained and seem reasonable. 5.3 - NI - answered NI because missing data is not mentioned apart from 22,542/22,901 pts providing alert triggered data which could be accurate as not evert participant will have an alert triggered event. In a database with such a large amount of participants it seems extremely unlikely that there will have been no missing data items. moderate because for mortality the outcome data seems complete but there are a lot of domains which are NI, which brings in some uncertainty | PN | PY |  | PN | Low | 6.1 - The intervention and outcome looks like it was known to assessors (no mention of blinding or separate assessors). However, it's an objective endpoint and all encompassing 'all-cause' so unlikely to have been influenced. |  | PY | PN | PN | Moderate | 7.1 - Outcome measure (HFE) used three analysis types to assess (monthly downloads of risk score, daily downloads of risk score (results not reported) and alert triggered so multiple outcome measurements for the same outcome domain may have occurred and impacted the overall reporting. | Serious
Zile (2021) | Y | N | NA | NA |  | N |  |  | NI | Insufficient information | N |  |  | Y |  | NI | lack of information | Y | NI | N | Low | No issues identified | NI | NA | NI | PY | PY | NA | NI | lack of information | N | N | NI | NA | NI | NI | Lack of information | N | N | Y | N | Low | No blinding or independent cmte. |  | PY | PY | PY | Serious | Problems across domains | Serious
Debski (2021 | PN | N | NI | NI | NI | PN |  |  | NI | Insufficient information | PN |  |  | Y |  | NI | lack of information | Y | Y | N | Low | No issues identified | NI |  | NI | NI | NI |  | NI | lack of information | NI | NI | NI | NA |  | NI | Lack of information | PY | Y | NI | NI | NI | Lack of information |  | NI | NI | NI | NI | Lack of information | NI
Ahmed (unpublished) | Y | N | NI | NI | PY | N | PN |  | Critical | Lots of information missing (no reporting of whether propensity score matching successful, majority of hospitalisations unrelated to HF or CV) | NI |  |  | PY | NI | NI | lack of information | Y | Y | N | Low | No issues identified | NI |  | NI | PY | PY |  | NI | lack of information | PY | PN | PN |  |  | NI | insufficient information | PN | PN | Y | PN | Low | No issues identified |  | NI | NI | PN | NI | Insufficient information | Critical
D'Onofrio (2022) | PY | N | NA | NA | NA | N | N | NA | Moderate | prospetive cohort, random split and assessed for differences. No confounding factors included | N | NA | NA | PY | NA | Low |  | Y | Y | N | Low | blinding of remote monitoring information was completed | N | NA | Y | Y | Y | NA | Low |  | PN | NI | NI | NA | NA | Serious | unclear how missing data was handled | N | PY | Y | PN | Low |  |  | N | N | N | Low |  | Serious
Treskes (2021) | Y | N | NA | NA | NA | N | N | NA | Serious | single retrospective cohort, with pre and post activation. No consideration for confouding | N | NA | NA | Y | NA | Low |  | Y | Y | N | Low | retrospective analysis but I don't feel like this would effect the classification. Either have algorithm or don’t | N | NA | NI | Y | Y | NA | Low |  | Y | PN | Y | NA | PY | Moderate | 5.3 One patient was lost to follow up | N | Y | Y | PN | Low |  |  | N | N | N | Low |  | Serious
Perez Serrano (2019) | Y | N | NA | NA | NA | N | NA | NA | Critical | no statistical analysis, most likely due to small numbers | PN | NA | NA | NI | NA | Moderate | lack of information | PY | NI | N | Moderate | Lack of information | NI | NA | NI | PY | PY | NA | Moderate | lack of information, but 2 cases were reporting as losing track (unclear on what this means) | PY | NI | NI | NA | NI | Serious | Lack of information | N | PY | NI | N | Serious | Lack of information |  | NI | NI | NI | NI | No information | Critical
Pecora (2020) | Y | N | NA | NA | NA | N | NA | NA | Serious | lacks detail (abstract) | NI | NA | NA | NI | NA | Moderate | lack of information | PY | NI | N | Moderate | Lack of information | PN | NA | NI | Y | Y | NA | Low |  | Y | N | N | NA | NA | Low |  | N | PY | NI | N | Moderate | Lack of information |  | NI | NI | NI | NI | No information | Serious
Lerman (2023) | Y | N | NA | NA | NA | NA | NA | NA | Critical | no statistical analysis, most likely due to small numbers | N | NA | NA | NI | NA | Moderate | lack of information | Y | Y | PY | Serious | 3.3 as it was compared to clinician decisions and no reporting of blinding for heartlogic score, it may have introduced bias | PN | NA | NI | Y | Y | NA | Low |  | Y | N | N | NA | NA | Low |  | PY | Y | NI | PN | Critical | 6.1 retrospective nature could introduce bias |  | N | N | N | Low |  | Critical
Henry (2022) | Y | N | NA | NA | NA | NA | NA | NA | Critical | no statistical analysis, most likely due to small numbers | PN | NA | NA | PY | NA | Low | lacks information but retrospective cohort and dates of study provided | Y | Y | PN | Low | blinded cardiologists | PN | NA | NI | Y | Y | NA | Low |  | Y | NI | NI | NA | NA | Serious | Lack of information | PY | N | Y | PN | Low | blinding |  | NI | NI | NI | NI |  | Critical
Ebrille (2021) | Y | N | NA | NA | NA | NA | NA | NA | Critical | no statistical analysis | N | NA | NA | NI | NA | Moderate | There is a lack of information but assuming that the follow up and start of intervention was similar | Y | Y | PN | Low |  | N | NA | NI | Y | Y | NA | Low |  | PY | NI | NI | NA | NA | Moderate | Lack of information but assume there was no missing data | PN | PY | Y | N | Low | prospective cohort |  | N | NI | NI | Low |  | Critical
D'Onofrio (2023) Extraced and used Santobuono (2023) | Y | N | NA | NA | NA | Y | PN | NA | Serious | Statistical analysis did consider confounding variables, however, there appears to be an issue with the proportionality assumption with crossing on the HR plots, which has not been addressed. | N | NA | NA | Y | NA | Low |  | Y | Y | N | Low |  | N | NA | NI | Y | Y | NA | Low |  | Y | NI | NI | NA | NA | Low | does not appear to be any missing data | N | PY | Y | N | Low |  |  | N | N | NI | Low |  | Serious
Chang (2020) | Y | N | NA | N | NA | N | N | NA | Critical | Two groups compared but no details regarding the analysis of how this was achieved | N | NA | NA | Y | NA | Low |  | Y | Y | N | Low |  | NI | NA | NI | Y | PY | NA | Low | retrospective design suggests everyone must have adhered | Y | NI | NI | NA | NA | Low | no information regarding missing data, assume there was none | N | PY | Y | N | Low | hospitalistions reviewed, I don't think this could be changed by knowing the intervention etc |  | N | N | NI | Low |  | Critical
Bonhommme (2021) LATE EXCLUDE | Y | N | NA | NA | NA | N | N | NA | Critical | retrospective report of numbers of alerts. No statistical analysis | N | NA | NA | NI | NA | Moderate | retrospecitve review over differing years, numbers provided by years. Wasn't sure how to answer 2.4 | Y | Y | N | Low |  | N | NA | NI | Y | Y | NA | Low |  | Y | NI | NI | NA | NA | Low | I don’t think there is any missing data | N | PY | Y | N | Low | retrospective review, I don't think would be impacted by knowing the intervention |  | NI | NI | NI | NI |  | Critical
Santobuono (2023) | Y | N | NA | NA | NA | Y | Y | NA | Low | 1.6/1.7 analysis was conducted to assess the association of baseline factors and heartlogic. Data for this has not been extracted (maybe this should be considered as no?) | N | NA | NA | PY | NA | Low |  | Y | Y | PN | Low |  | N | NA | NI | Y | Y | NA | Low |  | Y | N | N | NA | NA | Low | I don’t think there is any missing data | PN | Y | Y | N | Moderate | assume some bias from the lack of blinding |  | N | N | N | Low |  | Moderate
De Juan Baguda (2022) - phase 1 | Y | N | NA | NA | NA | N | N | NA | Serious | lacks confouding factors | N | NA | NA | Y | NA | Low |  | Y | Y | N | Low |  | N | NA | NI | Y | Y | NA | Low |  | Y | NI | N | NA | NA | Low | I don’t think there is any missing data | N | N | Y | N | Low |  |  | N | N | N | Low |  | Serious
De Juan Baguda (2022) - phase 2/3 | Y | N | NA | NA | NA | N | N | NA | Serious | lacks confouding factors | N | NA | NA | N | NA | Moderate | unsure how the effect of retrospective and propsective cohorts being combined effects the results | Y | Y | PY | Moderate | not blinding the retrospecitve data may introduce more bias | N | NA | NI | Y | Y | NA | Low |  | Y | NI | N | NA | NA | Low | I don’t think there is any missing data | PY | Y | Y | N | Moderate |  |  | N | N | N | Low |  | Serious
Santini (2020) | Y | N | NA | NA | NA | N | N | NA | Serious | lacks controlling for confouding factors | N | NA | NA | Y | NA | Low |  | Y | Y | PY | Moderate | Part of the reason of the study was to assess clinician impact of knowing the heartlogic index - to influence their decisions, but this represents clinical practice and was the aim of the study. | N | NA | NI | Y | Y | NA | Low |  | Y | NI | N | NA | NA | Low | I don’t think there is any missing data | Y | Y | Y | N | Moderate | Again, this was the point of the study |  | N | N | NI | Low |  | Serious
Guerra (2022) | Y | NA | NA | NA | Y | Y | Y | Y | Moderate | One analysis includes confouding factors, others do not. Additionally, the factors are not explicit and the modelling reporting is subpar | N | NA | NA | Y | NA | Low |  | Y | Y | PY | Moderate | Similar to above the clinicians were meant to have access data to inform decision making | N | NA | NI | Y | Y | NA | Low |  | Y | NI | N | NA | NA | Low | I don’t think there is any missing data | Y | Y | Y | N | Moderate | same as above |  | N | N | NI | Low |  | Moderate
Gardner (2018) | Y | NA | NA | NA | Y | Y | Y | Y | Low |  | N | NA | NA | Y | NA | Low |  | Y | Y | PY | Low | mentions blinding | N | NA | NI | Y | Y | NA | Low |  | Y | Y | Y | NA | Y | Low | minimal missing data and unlikely to greatly impact results. | Y | N | Y | N | Low | blinding |  | N | N | N | Low |  | Low
Feijen (2023) | Y | N | NA | Y | Y | Y | Y | Y | Low | propensity matched cohort, no significant differences observed when matching. Assume this translates to less confounding in analysis | N | NA | NA | Y | NA | Low | 2.1 for retrospective studies, should this be yes? | Y | Y | Y | Serious | 3.3 retrospective nature, could introduce bias and no blinding | N | NA | Y | Y | Y | NA | Low |  | Y | Y | Y | Y | PY | moderate | 5.1 there were 5 people excluded with missing data, considered this to be nearly all participants available | N | Y | Y | N | Moderate | no blinding |  | N | N | N | Low |  | Serious
Calo (2021) | Y | NA | NA | NA | Y | Y | Y | Y | Low | Conducted adjusted analyses for HF events | N | Na | NA | Y | NA | Low |  | Y | Y | N | Low | wouldn't know the outcome when assessing | N | NA | NA | Y | Y | NA | Low |  | Y | NI | NI | NA | NA | low | I don’t think there is any missing data | Y | Y | Y | N | Moderate | no blinding |  | N | N | N | Low |  | Moderate

## PROBAST
|  | Participants | [9 empty] | Predictors | [10 empty] | Outcome | [18 empty] | 4. Analysis | [22 empty] | Overall Judgements
Author (year) | Type of prediction study (validation only; development only; both) | Describe sources of data and criteria for participant selection | 1.1 Were appropriate data sources used (e.g., cohort, RCT or nested case-control study data) - development | 1.1 Were appropriate data sources used (e.g., cohort, RCT or nested case-control study data) - validation | 1.2 were all inclusions/exclusions appropriate? - development | 1.2 were all inclusions/exclusions appropriate? - validation | overall risk of bias rating | Rationale for bias rating | Applicability: describe included participants, setting and dates | Concern that the included participants and setting do not match the review question | rationale for applicability rating | List and describe predictors in the final model (definition and timing of assessment) | 2.1 were predictors defined in a similar way for all participants? - Development | 2.1 were predictors defined in a similar way for all participants? - Validation | 2.2 were predictor assessments made without knowledge of outcome data? - development | 2.2 were predictor assessments made without knowledge of outcome data? - validation | 2.3 are all predictors available at the time the model is intended to be used? - Dev | 2.3 are all predictors available at the time the model is intended to be used? - Val | Overall risk of bias | Rationale for bias rating | applicability: concerns that the definition, assessment or timing of predictors in the model do not match the review question | Rationale for rating | Describe the outcome, how it was defined and determined, and the time interval between predictor assessment and outcome determination | 3.1 Was the outcome determined appropriately? - Dev | 3.1 Was the outcome determined appropriately? - Val | 3.2 Was a pre-specified or standard outcome definition used? - Dev | 3.2 Was a pre-specified or standard outcome definition used? - Val | 3.3 Were predictors excluded from the outcome definition? - Dev | 3.3 Were predictors excluded from the outcome definition? - Val | 3.4 Was the outcome defined and determined in a similar way for all participants? - Dev | 3.4 Was the outcome defined and determined in a similar way for all participants? - Val | 3.5 Was the outcome determined without knowledge of predictor information? - Dev | 3.5 Was the outcome determined without knowledge of predictor information? - Val | 3.6 Was the time interval between predictor assessment and outcome determination appropriate? - Dev | 3.6 Was the time interval between predictor assessment and outcome determination appropriate? - Val | Overall risk of bias rating | Rationale for bias rating | Applicability: at what time point was the outcome determined? | Applicability: if a composite outcome was used, describe the relative frequency/distribution of each contributing outcome | Overall concern that the outcome, its definition, timing or determination do not match the review question | Rationale for applicability rating | Describe numbers of participants, number of candidate predictors, outcome events and events per candidate predictor | Describe how the model was developed (for example in regards to modelling technique (e.g. survival or logistic modelling), predictor selection, and risk group definition) | Describe whether and how the model was validated, either internally (e.g. bootstrapping, cross validation, random split sample) or externally (e.g. temporal validation, geographical validation, different setting, different type of participants) | Describe the performance measures of the model, e.g. (re)calibration, discrimination, (re)classification, net benefit, and whether they were adjusted for optimism | Describe any participants who were excluded from the analysis | Describe missing data on predictors and outcomes as well as methods used for missing data | 4.1 Were there a reasonable number of participants with the outcome? - Dev | 4.1 Were there a reasonable number of participants with the outcome? - Val | 4.2 Were continuous and categorical predictors handled appropriately? - Dev | 4.2 Were continuous and categorical predictors handled appropriately? - Val | 4.3 Were all enrolled participants included in the analysis? - Dev | 4.3 Were all enrolled participants included in the analysis? - Val | 4.4 Were participants with missing data handled appropriately? - Dev | 4.4 Were participants with missing data handled appropriately? - Val | 4.5 Was selection of predictors based on univariable analysis avoided? - Dev only | 4.6 Were complexities in the data (e.g. censoring, competing risks, sampling of controls) accounted for appropriately? - Dev | 4.6 Were complexities in the data (e.g. censoring, competing risks, sampling of controls) accounted for appropriately? - Val | 4.7 Were relevant model performance measures evaluated appropriately? - Dev | 4.7 Were relevant model performance measures evaluated appropriately? - Val | 4.8 Were model overfitting and optimism in model performance accounted for? - Dev only | 4.9 Do predictors and their assigned weights in the final model correspond to the results from multivariable analysis? - Dev only | Overall risk of bias rating | Rationale for risk of bias rating | Overall judgement of risk bias | Summary of sources of potential bias | Overall judgement of applicability | Summary of applicability concerns
Forleo (2013) | Validation only | prospective cohort, consecutive patients getting implants (CRT) | NA | yes | NA | probably yes | low | Lacks information, however, seems appropriate | date NR, tertiary hospital, participants had HF | high | meets research question but is in a different setting as prespecified | NA | NA | NA | NA | NA | NA | NA |  | Diagnostic accuracy assessed on HF events and HF hospitalisation. Modelling information not reported. |  |  | HF events (admission in hospital for congestive heart failure or mulder manifestations of heart failure deterioration) HF hospitalisation | NA | yes | NA | yes | NA | yes | NA | yes | NA | NA | NA | NA | low | Assume that predictor information is known from the device, I don't think question is relevant for this study. May be relevant for other studies (model development) | upon notification of symptom changes | NA | low | matches review question | 80 participants. CorVue algorithm | NA | NA | Sensitivity and PPV | None | NA | NA | probably no | NA | probably yes | NA | yes | NA | NA | NA | NA | NA | NA | no | NA | NA | high | Sens and PPV only, lacks further data presented. Assume no complexities in data relevant. Small sample size | high | Due to analysis and lack of detail. Plus only Sens and PPV reported. Low sample size. | low | meets research question
Vigdor (2020) | Validation only | Abstract Prospective cohort All pts with activated HeartLogic alert | NA | probably yes | NA | probably yes | unclear | The primary include matches our review question. Unclear due to lack of info | Patients with heart failure requiring CIED and activated HeartLogic intervention. Setting is likely to be clinical either secondary or tertiary but this is not reported. Dates are not reported | low | NO concerns about the applicability of the study to our review Q - All heart failure pts with active HeartLogic are being treated in a clinical setting likely either secondary or tertiary. Dates are not reported. | NA Modelling information not reported | NA | NA | NA | NA | NA | NA |  |  |  |  | heart faiulre events events, defined as unscheduled visits or heart failure hospitalizations occurring within 6 weeks after the initial alert were recorded | NA | probably yes | NA | probably yes | NA | yes | NA | probably yes | NA | NA | NA | NA | low |  | Within six weeks of after the first alert was recorded | NR | low |  | 80 participants Predictors: heart sounds thoracic impedance respiration heart rate and activity nominal alert threshold 16 and then up to 20 outcome events n12 urgent follow ups (classing as an unscheduled visit or diuretic adjustment n3 (of the 12) hospitalisations (as an in patient) | NR | NR | Spec, Sens, PPV and NPV | NR | NR | NA | probably no | NA | probably yes | NA | probably yes | NA | NA | NA | NA | NA | NA | no | NA | NA | high | Due to abstract and lack of information there is limited info to make a judgement. Overall High because of lack of AUC See PROBAST EXP. Paper small sample size | high | If an unclear risk of bias was noted in ≥1 domain and it was low risk for all other domains. | low | No concerns about the applicability of
Wakabayashi (2021) | Validation only | FT Retrospective cohort Patients with CorVue activated in one centre. Analysis split into those who had an alert Vs those who did not. | NA | probably yes | NA | probably yes | high | retrospective assessment of utility of CorVue when integrated into clinical practice - inherent risk of bias | Patients undergoing CIED with HF for the first time or as a replacement. In one unspecified hospital setting. Implantation was between June 1, 2011 and August 31, 2019. | high | Yes, the primary studies participants and aims align with this review. However only n16/49 were actually monitored remotely. | Modelling information not reported | NA | NA | NA | NA | NA | NA |  |  |  |  | HF events (HF development associated with ITI alerts were defined as those observed in the 30 days after ITI alerts according to a previous study) HF was defined by the presence of at least two of the following criteria adapted from the Framingham Heart Study: unexplained weight gain, dyspnea on exertion, paroxysmal nocturnal dyspnea, elevated jugular venous pressure, auscultatory crackles, S3 gallop, ascites or lower extremity oedema, radiographic pulmonary oedema or pleural efusion, and the need for initiation or increase of diuretic therapy | NA | probably yes | NA | probably yes | NA | yes | NA | probably yes | NA | probably no | NA | probably yes | low |  | Within 30 days of the first ITI alert | NR | low | Aligns with review question and similar to other publication in this field | 49 participants Predictors: ITI Outcome events: HF within 30 days of an alert as described previously Events: 28 HF episodes | NA | NR | Sensitivity and PPV | one participant excluded due to no CorVue data | NR | NA | probably no | NA | probably yes | NA | no | NA | probably no | NA | NA | NA | NA | probably no | NA | NA | high | One participant excluded due to lack of CorVue data, lacking information about missing data and if present how it was handled. Lacking data on performance measures and AUC for the main outcome specified in the outset (HF events in relation to ITI). | high | Lack of detail provided and only Sens and PPV reported for the main outcome of interest. | low | The applicability aligns.
Heist (2014) | Validation only | Prospective cohort | NA | probably yes | NA | probably no | high | Prospective cohort used with a sample of 144. Eligibility appears to be consistently applied in the FT and NCT entry to include pts with a least 1 acute decompensated HF in the last month. Models include: 1107-36, 1207-36, 1211-36/36Q, 2207-30/36, and 2211-36/36Q) and CRT-D devices (models 3107/3207-30/36, 3211-36Q, and 3215- 36Q) these don't appear to align with the devices specified in our protocol. | Pts at least 31 days following implantation who have had at least 1 decompensatory HF in the past 6 months. | high | Eligibility criteria specified patients must have had at least one documents episode of decompensated heart failure that requires intravenous episode. Does not align with our chronic subgroup. | Modelling information not reported | NA | NA | NA | NA | NA | NA |  | The predictors specific to CorVue are not assessed individually. Other predictors are analysed and presented to check associations |  |  | Detection of pulmonary congestion using 14 days as the nominal time period. Impedance changes were considered a true positive if detected 30 days before an adjudicated PC event | NA | probably yes | NA | probably yes | NA | yes | NA | probably yes | NA | yes | NA | probably yes |  | The enrolment and intervention took place 31 days after implantation, clinical events that occurred after the baseline visit were included in the primary and secondary end points. | True positives were considered if they occurred 30 days before and adjudicated PC event | NR | low |  | 144 pts analysed Predicator Impedance Outcome events Pulmonary congestion | NA | NR | Sensitivity and PPV | NA | NR | NA | probably yes | NA | probably yes | NA | no | NA | probably no | NA | NA | NA | NA | probably no | NA | NA | high | 144 of 162 enrolled participants were included in the final analysis. There is no mention about imputation or other methods of handling missing data. | high | Lacking in details regarding the analysis method. | low | Low concerns - the applicability aligns with the PICO to the review Qs.
Binkley (2012) | Development and Validation | Cohort retrospective | probably yes | probably yes | probably no | probably no | high | Study source (cohort with longitudinal FUP) is appropriate. A mean FUP of 8.2 (2.6) does not seem very long, although HF is a common condition so you could expect to capture events in this time period. The eligibility criteria included people who had at least one documented episode of decompensated heart failure within the 12 months preceding study enrolment. This likely include the most serious cases ( confirmed by NYHA III and IV) and those therefore more likely to experience an event with the potential to overestimate effect and does not represent participants | Patients started in this study with CRT-D indication who had at least one recorded episode of decompensatory HF. No dates available. Setting not made explicit, can assume clinical setting/ | high | The eligible participants align with those specified in our review question. However, the assessed devices are reported as models 3107/3207-30/36, 3213-36. These devices do not appear to match those pre-specified in our protocol. It may be these are early 'pre marketed' names for the devices listed in our protocol. There is no obvious link looking at an online search so because it is difficult to tell with limited information I have marked as High. The eligibility criteria included people who had at least one documented episode of decompensated heart failure within the 12 months preceding study enrolment and baseline characteristics show enrolment of NYHA III IV. Doesn't quite align with our subgroup of people with chronic HF (not at risk of acute risk of HF) | Multi-vector impedance to monitor pulmonary congestion | probably no | probably no | probably no | probably no | probably yes | probably yes | high | The predictor (Impedance) was assessed as being accurate in in relation to HF that required one or more listed treatment (intravenous diuretics, positive inotropic drugs, neseritide, an increase in an oral diuretic of ≥100 % over a 24-h period, a 100 % or greater increase in any other HF medication compared to the patient's immediately previous dose, any clinic visit for worsening heart failure symptoms or dyspnea, and any hospitalization or ED visit). Based on information it appears to have been applied similarly in all clinical centres in both development and validation. It can be argued that the above are subject to variation between clinical personal and experience and may be determined/recorded differently in clinical notes between centres. Due to the nature and number of criteria for HF events I have marked PN to 2.1 2.2 - No blinding reported. Data were reviewed at 1-3 mo. at follow ups or every 2h when hospitalised using ED records and device data and patient diaries. likely that there were hospitalisations where predictor assessments were made with knowledge of the outcome. | low | Impedance as a predictor of heart failure aligns with our review question. | Outcome: Heart failure event Definition: A clinical event was defined as any change in heart failure status requiring one or more of the following treatments:intravenous diuretics, positive inotropic drugs, neseritide, an increase in an oral diuretic of ≥100 % over a 24-h period, a 100% or greater increase in any other HF medication compared to the patient's immediately previous dose, any clinic visit for worsening heart failure symptoms or dyspnea, and any hospitalization or ED visit. | probably yes | probably yes | probably yes | probably yes | probably yes | probably yes | probably no | probably no | probably no | probably no | probably yes | probably yes | high | 3.1 - Outcome (s) appears to be determined on common clinical criteria. 3.3 - Intrathoracic Impedance/pulmonary congestion does not appear to directly form the outcome measure. 3.4 - It appears that the outcome has the potential to be subject to clinical expertise and individual level protocols, therefore it is possible some of the outcome measures (particularly treatments rather than hospitalisations) have the potential to differ. The report does state 'adjudicated' so it is possible a method was put in place to control for this, it is not reported what method. 3.5 - For the hospitalisations it is possible predictive information may have been accessible to clinicians when determining an outcome status. 3.6 . The first day of the algorithm-detected event must have occurred either within 30 days prior to a clinical event or during a clinical event for the detection to be classified as a true positive. The timing appears to be long enough to allow capture and treatment and recovery of the event and is a similar timing to other studies in this field. | A clinical event was defined as any change in heart failure status requiring one or more of the following treatments: intravenous diuretics, positive inotropic drugs, neseritide, an increase in an oral diuretic of ≥100 % over a 24-h period, a 100 % or greater increase in any other HF medication compared to the patient's immediately previous dose, any clinic visit for worsening heart failure symptoms or dyspnea, and any hospitalization or ED visit The first day of the algorithm-detected event must have occurred either within 30 days prior to a clinical event or during a clinical event for the detection to be classified as a true positive | NR - it looks like CorVue measures only impedance using multiple vectors. | low | Detection of a HF event 30 days prior to it occurring appears to be long enough to address. | n75 enrolled; n61 analysed. Predictor: n1 - Intrathoracic impedance Outcome events: 21 adjudicated clinical events overall; 13 (12 cardiac) relevant to the CorVue algorithm. Total number of algorithm detected events: n32 | NR | Internal validation Algorithm stability was confirmed using randomly selected patient samples. The performance of the vector combinations that optimally identified clinical events in the entire data set was further evaluated using repeated random samples of 40 patients selected from the overall study sample. For each iteration, algorithm performance was recorded if the randomized subset had more than six clinical events from at least four patients. The randomization and testing were repeated over 30,000 times. For CRT-D devices, LVrCan and RVc-Can combination yielded the best performance throughout iterations, resulting in a sensitivity of 71.2±7.1 % and 0.52±0.12 false positives per patient-year. For ICD devices, the RVr-Can and RVc-Can combination yielded the best performance, resulting in a sensitivity of 61.8±11 % and 0.63±0.10 false positives per patient-year. | Sensitivity and PPV | n14 -n3 implanted RV integrated leads, n2 due to nonphysiological impedance instability. N9 either died or withdrew | NR | probably no | probably no |  |  | no | no |  |  |  | probably no | probably no | probably no | probably no | no information | probably yes | high | 4.1 - 21 adjudicated outcome events overall and only 13 (12 cardiac) in the CorVue algorithm of interest in a sample of n61 (analysed) does not appear to be large enough to give a precise finding. For the validation the sample was internal/the same sample used for development, given the small sample size and small number of outcomes specific to the CorVue algorithm this is of concern. Furthermore, the analysis is unclear. 4.2 - No information on whether continuous predictors are examined for nonlinearity and no information on how categorical predictor groups are defined. 4.3 - Not all enrolled participants were analysed n61/75 so I have marked no. However the reasons are provided and the authors have tried to use data from the n15 who withdrew or died so I would not consider this a major concern. 4.4 NI about missing data nor how it was handled. You can not tell from the results reported whether all participants contributed to the data. 11 of the clinical events were excluded because they occurred in the 'maturation period' just after implantation. 4.5 - for development only - this is NI 4.6 - NI complexities in the data are not discussed 4.7 - I selected PN based on if classification measures (like sensitivity, specificity, or predictive values) were presented using predicted probability thresholds derived from the data set at hand. because the paper reports ROC and not much else. Study reporting does not clearly seperate development and validation making it difficult to assess. | high | The small sample size and outcomes of interest, in addition to development and validation in the same data set raises concerns. There are some limitations in the statistical analysis | high | The included population fits with a group of pts at high risk of acute HF but not with those with chronic HF not at risk of acute. The population includes patients with the most sever NYHA classification.
Palfy 2018 (Martinez 2017) | Validation only | Prospective cohort | NA | probably yes | NA | probably yes | low | Participants were enrolled consecutively prospectively the cohort is an appropriate design. | PTS: We enrolled consecutive ICD and CRT-D patients with prior history of HF and significant left ventricular (LV) systolic dysfunction (left ventricular ejection fraction [LVEF] ≤ 35%) attending the routine device follow-up. Previous hospitalization for HF was not an inclusion criteria; nevertheless, all patients were on medication for HF and most of them had previous history of hospital admission due to a decompensation episode Setting: Tertiary care Dates: NS | low | Eligibility criteria was appropriate and wide enough to cover both of our pre-specified subgroups (acute and chronic). The clinical setting is tertiary (highly specialised) and this does not align with the secondary care setting we have specified in our protocol/review question but this is likely reflective of real life care so I have marked as low concern for applicability. | Impedance Impedance was detected by the algorithm at two hour intervals (12 daily) then the mean calculated over consecutive days. A congestion period occurred when the mean daily impedance threshold drops below the congestion period/reference period for over 13 or 14 days a alert occurs. The alert is picked up at the 3mo follow-ups and medical notes retrospectively reviewed and confirmed by to blinded clinicians to confirm the clinical events including BNP levels. Clinical events are defined as Clinical events were defined as (1) new episode of HF requiring ambulatory/ER diuretic therapy modification, or (2) HF hospitalization. review of med notes - HF evaluation not standardised | NA | probably no | NA | probably yes | NA | probably no | high | 2.1 - Impedance was measured in devices similarly in ICD and CRT-D devices but using 13 and 14 day thresholds respectively the vector combination appears to be different for both as well. The rationale for this is based on previous development studies so it is likely ok. 2.2 - Yes clinical events were reviewed by two assessors who were blinded. 2.3 - Alerts were monitored at 3 mo. scheduled visits and clinical records seemingly retrospectively reviewed to marry alerts with clinical care. In practice the technology would alert the cardio team/treating clinician to a heart failure event which would kick start patient contact. This study does not appear to be reflective of what would happen in real practice to capture HF events early. So no for the purposes of this validation it does not appear that predictors were available to detect future HF events. | low | Some applicability concerns relating to the study validation design and whether that is reflective of real clinical practice to capture HF events early. But overall low concerns | Outcome: Clinical events Definition: (1) new episode of HF requiring ambulatory/ER diuretic therapy modification, or (2) HF hospitalization. Determination: Predictor and outcome measurements were reviewed at 3 mo. follow ups All the CorVueTM alarms and clinical events were collected, qualified as true/false positive/negative, and finally quantified in every scheduled visit. The presence of appropriate alarm (true positive) was considered if it occurred in the 30 days prior to a clinical event. Inappropriate alarm (false positive) was considered if an alarm was detected without subsequent clinical event (Figure 1). A true negative event was adjudicated if there was no CorVueTM alarm or clinical event during that period of 3 months. A false negative event was considered if there was any undetected clinical event during the trimester | NA | probably yes | NA | no | NA | yes | NA | probably yes | NA | probably yes | NA | yes | low | 3.2 -PN - The accuracy of the predictor (impedance) was assessed against clinical events, the events were not assessed in a standardised way so treatment and management are likely to be impacted by clinical experience and judgement. All patients were assessed in one centre so variation in care between centres is not an issue. 3.4 - As above outcome due to lack of standardisation and subjective outcome measures are likely to have been influenced by clinical experience and judgement. but because of the blinded clinical adjudicators I have marked this as -PY- 3.6 - Y the timings are in line with other similar studies. | The presence of appropriate alarm (true positive) was considered if it occurred in the 30 days prior to a clinical event. Inappropriate alarm (false positive) was considered if an alarm was detected without subsequent clinical event (Figure 1). A true negative event was adjudicated if there was no CorVueTM alarm or clinical event during that period of 3 months The above was decided at the 3 mo. FUP | NA | low | No concerns about the applicability overall although in practice the determination of the outcome will likely be as an alert occurs not at every 3mo FUP as in this study design to validate clinical efficacy | Participants: n53 Candidate predictor: Impedance measured by multiple vectors Outcomes: 18 patients (34%) presented 25 episodes of HF that consisted of 12 hospitalizations and 13 ER or ambulatory diuretic treatment modification | NR | NR | NR | NR | NR | NA | probably no | NA |  | NA | probably yes | NA | probably yes | NA | NA |  | NA |  | NA | NA | high | 4.1 - PN - number of pts w+BM7ith the outcome is less than 100, plus small sample size 4.2 - NI - so left blank 4.3 - PY - Because the number of patients reported as having clinical events (n35 without and n18 with) match the number of enrolment but unclear is also acceptable. 4.4 - NI but answered PY based on above (4.3) 4.6 -NI- Left blank 4.7 -NI -left blank | high | Limitations in the predictors and to a greater extent the analyses. Namely the variation in thresholds and lack of standardised care to determine HF events. Analysis is limited for a validations study, small sample size and small number of outcomes | low | Aligns ok with our population defined in the protocol
Palfy (2015) | Validation only | Cohort (type unclear) | NA | probably yes | NA | NA | unclear | Very limited information because it is an abstract | Participants: Patients with ICD and CRT-D Setting: Not described Dates: Not reported | low | Based on other published documents from this author, the type of device, algorithm and likely intended participants judging the applicability to be in line with our review question. | Predictors: Impedance Timings are not reported but are likely to be the same as reported previously (See Palfy 2018). Predictors were judged to be accurate if the clinical events occurred within | NA |  | NA | probably yes | NA |  | unclear | Due to limited information in the abstract this domain is at unclear ROB. Empty cells (2.1 and 2.3) represent NI. | low | Based on what is known about the algorithms a predictor from other studies it is likely the predictor aligns to the research question. | Outcome: HF event Definition: Clinical events were defined as new episodes of HF requiring ambulatory or emergency room treatment modification or hospitalisation. Determination: Appropriate HF detection was an alarm which occurred in the 4 prior weeks to the clinical event. | NA | probably yes | NA | no | NA | yes | NA | probably no | NA |  | NA | yes | high | 3.4 - no mention of following standard protocols outcome likely to be influenced by clinical experience and judgement. 3.5 - NI (blank) Due to answer in 3.4 marked as high. Although NI is also probably a valid answer. | HF outcome was determined if it occurred in the 4 prior weeks to the clinical event. | NA | low | No concerns about the overall applicability as it appears to be in line with other similarly reported OMS | Participants: n65 Candidate predictor: Intrathoracic impedance Outcome: 14 patients (21%) presented with 20 episodes of HF: 9 hospitalisations and 11 ER/ambulatory treatment modifications. | NR | NR | NR | NR | NR | NA | probably no | NA |  | NA | probably yes | NA |  | NA | NA |  | NA |  | NA | NA | unclear | All cells left blank are NI. Small sample size | high |  | low
Ahmed (2020) | Validation only | Cohort -RWE | NA | probably yes | NA | probably yes | low |  | Participants: Patients with CIEDs Setting: Tertiary, single centre Dates: 21 June 2016 - 21 September 2018 | high | The protocol specifies use in secondary clinical setting whereas this is tertiary | Predictors: Triage HFRS algorithm plus telephone triage. Timing: 3 monthly downloads or manual downloads if 'care alert' is activated or when presenting in hospital | NA | probably yes | NA | probably yes | NA | probably yes | low | 2.1 - the predictors (Triage algorithm) defined in a similar way. 2.2 - study unblinded. Downloads were available to treating clinician prior to telephone triage to determine symptoms of WHF so I have answered probably yes because the outcome was still being determined simultaneously as having predictor information to hand. 2.3 in this clinical pathway I have answered yes based on the 3 monthly downloads and telephone follow up. | low |  | Outcome: worsening heart failure Defined: A WHF episode was diagnosed if, either at the time of telephone triage or subsequent face-to-face review, patients had any of the following: increasing shortness of breath or fatigue, worsening peripheral oedema, or weight gain suggestive fluid overload and not attributable to an alternative cause (Table 1). Alternative medical problems identified were defined as episodes of acute illness or an acute medical problem, such as a lower respiratory tract infection, which was judged to be the predominant issue. Patients could be deemed to have both an HF episode and a concurrent acute medical problem. For the purpose of diagnostic measures, the presence of WHF (alone or alongside an acute medical problem) was taken to be the reference standard. Determined: Triage positive defined as identification of WHF or any acute medical problem identified at the time of phone call. | NA | probably no | NA | probably no | NA | yes | NA | probably no | NA | probably no | NA | probably yes | high | 3.1 The symptoms used to determine presence of WHR seems consistent with other published studies and criteria although information about specific methods are lacking. The inclusion of other acute/alternative medical problems seems odd and could potentially inflate the true effectiveness value so have marked as PN 3.2 outcome definition is subjective and not pre-defined as far as I can see. 3.4 subjective outcome criteria made by unblinded clinicians so are likely to be subject to clinical experience. It is from a single centre which may limit heterogenous decion making but I have marked no because it is likely variation exists. 3.5 No. clinicians had access to the downloaded risk score data as they were determining the outcome (prospective study design with unblinded assessors) 3.6 - seems long enough to detect the outcome but perhaps too long (3 monthly downloads) for recall bias not to factor into the telephone triage. answered PY because it appears in line with other studies. | every three months | NR | high | Timing of the outcome is not specified in the review question. Inclusion of any acute illness in the outcome is a concern. | Participants: n388 High HFRS received by CareLink; n157 high HFRS received by Triage team; n127 Triage assessment predictors: Triage HFRS plus telephone Candidate predictor: NA Outcome events: n90 triage positive identified events per candidate predictor: NA | NR | NR | NR | Patients with a high-risk HFRS who we were unable to contact by telephone on three separate occasions were not included (having excluded hospital admission as the reason for non-contact) | As a specialist centre, the MHC is not the local hospital for many patients under cardiac device follow-up. We do not have access to the hospitalization data for other hospital sites; therefore, it would be misleading to present data for MHC only— likely significantly underestimating hospitalization rates. This missing data could bias the accuracy of our results in terms of identifying WHF. | NA | probably no | NA | probably yes | NA | probably no | NA | no | NA | NA | NA | NA | no | NA | NA | high | 4.1 - under 100 participants with the outcome 4.3 - authors report excluding participants who could not be contacted by telephone on three separate occasions. Other than this 127/157 with high HFRS status underwent telephone triage assessment. 4.4 - NI 4.6 -NI 4.7 - NI Marked as high due to the low number of people without the outcome. However, NI is also appropriate here due to lack of information about the analysis. | high |  | high | High due to concerns regarding the tertiary setting, focus on pts at high risk of WHF and inclusion of 'any acute medical problem' in the outcome measure desc.
Burri (2018) | Validation only | Post-hoc analysis of RCT data | NA | probably yes | NA | probably yes | low |  |  | low |  | Predictor list: Optivol, night heart rate, duration of activity over 24hrs, heart rate variability, combined heart rrhythm. Predictor definition: - OptiVolVR fluid index (level 1: <30 Ohm-days; level 2: 30–<60 Ohm-days; level 3: 60 to <100 Ohmdays; level 4: >_100 Ohm-days; level -1: data not available) - night heart rate (NHR) calculated as the average heart rate between mid-night and 4 AM (level 1: 55–85 beats/min; level 2: >_85 beats/min, <_55 beats/min, or increasing; level -1: data not available) - duration of activity over a 24-h period, detected by the device piezo-electric sensor (level 1: >60 min/ day; level 2: <_60 min/day or decreasing activity; level -1: data not available - heart rate variability measured by the standard deviation of intervals during sinus rhythm (level 1: >60 ms; level 2: <_60 ms or decreasing; level -1: data not available) - a combined heart rhythm parameter including four factors measured over 24 h: (a) AF burden >_1 h/day, (b) mean ventricular rate during AF >_90 beats/min AND AF burden >_1 h/ day, (c) one or more shocks for ventricular tachyarrhythmia OR >_ 5 VT episodes, and (d) CRT pacing <_ 90% (level 1: only 1 of 4 criteria met; level 2: 2 or more criteria met, level -1: none of the criteria met OR Data not available Timing of assessement: continuous | NA | probably yes | NA | probably yes | NA | probably yes | low |  | low |  | Outcomes: Cardiovascular hospitalisations (30 day), Heart failure hospitalistions, Non-heart failure related cardiovascular hospitalisations. Defined: NR Determined: If the event occurred 30 dys following the HFRS. All endpoints adjudicated by an independent cmte. Time interval between predictor assessment and outcome determination: 30 days | NA | probably yes | NA | probably yes | NA | yes | NA | probably yes | NA | probably yes | NA | probably yes | low | Trial setting so likely had standardised procedures. | 3o days following a High risk score | NR | low |  | Particpants: 722 Candidate predictors: 5 Outcome events: 368 high risk patients with heart failure hospitalisation Event per candidate: | NA | NR | NR | NR | NR | NA | probably yes | NA | probably yes | NA | probably yes | NA |  | NA | NA | NA | NA | NA | NA | NA | unclear | 4.4 -NI | unclear |  | low
Cowie (2013) | Development and Validation | Development: Observational, Observational, Randomised. Validation: Observational, Observational, Randomised, Observational | yes | probably yes | probably yes | probably yes | low |  | Development Participants: People with CRT-D or ICD device Setting: NR Dates: NR Validation Participants: People with CRT-D or ICE device, with EF<35% and NYHA class III or IV, with HF event in last 12 mo. Setting: NR Dates: NR | low | Participants align with those described in our protocol. | Predictors list: intra-thoracic impedance, atrial fibrillation (AF) burden, rapid rate during AF, %CRT pacing, ventricular tachycardia, night heart rate, heart rate variability, activity. Predictor definitions: - IMP is a surrogate measure for blood volume or pulmonary capillarywedge pressure, with an increase in fluid volume leading to a reduction in IMP. - HRV is the standard deviation of 5 min median of atrial intervals during a 24 h period, with reducing HRV implying increases in sympathetic tone. - NHR is the average heart rate between midnight and 4am and is a measure for resting heart rate. - ACT is the number of minutes in a 24 h period the patient is active and is a surrogate of functional capacity - AF burden is measured as total duration of fast atrial rate during a 24 h period, with atrio-ventricular conduction ratio ≥2:1. - VRAF is the average ventricular rate during AF over a 24h period. Timing of parameters in the algorithm: continuous with daily measurements of thresholds. Outcome in relation to the predictor(s) are measured in 30day simulations retrospective threshold crossing previous 30d and prospective view of 30d HFH. | probably yes | probably yes | probably yes | probably yes | probably yes | probably yes | low |  | low |  | Outcome: Heart failure hospitalisations (HFH) 30 days following monthly diagnostic evaluation Defined: HF which included the administration of i.v. or oral diuretic during the hospitalization Determined: Each cardiovascular hospitalization was carefully adjudicated for signs and symptoms of HF which included the administration of i.v. or oral diuretic during the hospitalization. 3 Time interval between predictor assessment and outcome determination: 30 days | probably yes | probably yes | probably yes | probably yes | yes | yes | probably yes | probably yes | yes | yes | yes | yes | low |  | 30 days prior to diagnostic assessment | NR | low | In line with other reported study designs | Development Participants: n921 Candidate predictors: n5 Outcome events: Event per candidate: Validation Participants: n1310 Candidate predictors: n5 Outcome events: Event per candidate: | The parameter data feed into a Bayesian Belief Network model which categorises the thresholds into low-med-high at risk of HF framework. | External validation with three studies, different participants. | NR | NI | NI | probably no | probably yes | probably yes | probably yes | probably yes | probably yes |  |  | NA | NA | NA | probably yes | probably yes | probably no |  | unclear | 4.1 Dev - 2040 (pts)/91(hospitalisations) = is not reported but looking at the total number of hospitalisations (n91) compared to total number of pts evaluated (n2040) then it doesn’t look likely. 4.1 Val - Number of outcome events is above 100. 4.2 continuous predictors are converted into categories in the BBN but this is likely defined using a pre-specified method. 4.2 As above for Validation 4.4 - NI 4.5 - NI 4.6 - NI 4.8 - NI 4.9 - NI | unclear | Unclear ROB in the analysis domain due to no reported information, others are low | low | The development and validation include parameters of interest and population of interest.
Gula (2014) | Validation only | RCT | NA | probably yes | NA | probably yes | low | Still a question about the optivol capable devices being introduced partway through the trial see applicability | Participants: of the 1,798 patients enrolled in the RAFT trial, 1224 patients received devices capable of monitoring and storing all five variables and were in included in this analysis Setting: Trial Dates: January 2003 through February 2009 (Data from RAFT trial) | high | Participants align with those described in our protocol. The setting is clinical trial rather than secondary care but considered this is not be a major factor. Also sated in the FT: These differences reflect the fact that OptiVol capable devices were introduced midway through the RAFT trial, It is unclear what this means as optivol as a parameter in the ID algorithm is reported elsewhere. If it means that Optivol wasn't measured at all in the first part of the trial then I have rated as high concern that the participants do not match the review Q | Predictors: Optivol Night Heart Rate Patient activity Heart rate variability Arrhinia and pacing Predictor definitions: - Intrathoracic impedance, measured from right ventricular (RV) coil to the pulse generator, was used to compute OptiVol fluid index (FI), reflecting volume status and lung congestion15 and stratified to 4 levels of worsening lung congestion (Level 1: 0≤FI <30 ohm-days, Level 2: 30≤FI <60 ohm-days, Level 3: 60≤FI <100 ohm-days, Level 4: FI≥100 ohm-days) - Night-time heart rate (NHR), the average heart rate between midnight and 4am, was stratified to 2 levels (Level 1:NHR 55-85bpm, Level 2: NHR≥85 bpm, ≤55 bpm, or increasing) - Number of minutes of patient activity (ACT) per 24 hour period as detected by the device’s piezo-electric sensor was stratified to 2 levels (Level 1: ACT>60 min/day, Level 2: ACT≤60 min/day or decreasing activity) - Heart rate variability (HRV) was measured as the standard deviation of 5 minute medians of intervals over a 24 hour period, and stratified to 2 levels (Level 1: HRV SDNN>60 ms, Level 2: HRV SDNN≤60 ms or decreasing HRV). - A combined measure of heart rhythm (CHR) included 4 factors measured over 24 hours – AF burden ≥ 1 hour per day, mean ventricular rate during AF ≥90bpm, a single shock for ventricular tachyarrhythmia (VT) whether ventricular tachycardia or ventricular fibrillation, or 5 VT episodes treated with ant tachycardia pacing in 24 hours, and percent pacing in patients with a CRT device ≤90% (in whom 100% paced beats is intended) and this combined measure was stratified to 2 levels (Level 1: only 1of 4 criteria met, Level 2: 2 or more criteria met) Timing: Continuous. monthly evals of ID parameters were simulated to occur every 30 days. Each mo. the max HFRS was used to categorised the monthly eval into a 3 category Bayesian belief framework (low <0.054,-med 0.054-0.20-high >0.20). | NA | probably yes | NA | yes | NA | yes | low |  | low |  | Outcome: Heart failure hospitalisations Definition: Admission to hospital for more than 24 hours for treatment of HF Determined: Patients and treating health team were blinded to study arm assignment (CRT-D VS ICD). The healthcare team responsible for implanting and device mgmt. were unblinded. All events were adjudicated by an independent, blinded end point cmte. Time interval between predictor assessment and outcome determination: HF exacerbations/hospitalisations evaluated in the 30 days following monthly evaluation. | NA | yes | NA | yes | NA | yes | NA | probably yes | NA | probably yes | NA | yes | low | The trial setting likely created a uniform and standardised method for measuring and obtaining OM records which seems to be a common OM in this area. In addition hospitalisations is a more objective measure then others. 3.5 - answered yes because of the trial setting | 30 days following monthly evaluation | NR | high |  | Participants: 1,224 Predictors: 5 Outcome events: EVENT RATE PER MONTH 102 in High group Event per candidate: NR | NR | NR | NR | Participants in the RAFT trial who did not have the ID algorithm were excluded from the main analysis but provided as a comparator for some. | NR | NA | yes | NA | probably yes | NA | probably yes | NA | NA | NA | NA | NA | NA | NA | NA | NA | low | 4.1 - answered py - study has more than 100 events for validation. 4.3 - 1,224 analysed and included in OM of interest corresponded. 4.5 - no missing data for this outcome (hospitalisations 4.6 - NI | low |  | high | The optivol capability devices limits the applicability to our review Q.
Okumura (2020) | Validation only | Observational | NA | probably yes | NA | probably yes | low |  | Participants: Adults with HF with exisiting or new CRT-D Setting: NR Dates: 2013 -2017 | low |  | Predictor list: Intrathoracic impedance, patient activity, NHR, heart rate variability, percent pacing, AT/AF burden, ventricular rate during AT/AF, detected arrhythmia episodes/shocks delivered. Predictor definitions: NR Timing of assessment: Continuous. Triage-HF combines 30 days of prior device diagnostic data from the evaluation day to compute a risk score, which is then used to assign a risk status of Low, Medium or High. The risk status signifies probability of an event in the next 30 days from the evaluation day | NA | probably yes | NA | probably yes | NA | probably yes | low |  | low |  | Outcome: Heart failure events Outcome definition: The event was defined as HF-related if it required therapeutic intervention using either of the following measures during hospitalization: oral or non-oral diuretics, vasodilators and inotropes, or another non-oral HF medication. Outcome determination: All events were reviewed and adjudicated by an independent endpoint adjudication committee consisting of 3 physicians with HF expertise Timing interval between predictor assessment and outcome determination: 30 days | NA | probably yes | NA | probably yes | NA | yes | NA | probably no | NA | probably no | NA | probably yes | high | 3.2- PY because it seems to be a common OM. 3.5 - PN because the determination of the outcome depends on clinician judgement from multiple centres in Japan. There is likely to be variation in practice and there is no mention that the independent adjudication cmte was blinded. 3.5 - NI it possible the risk score was available when determining the outcome , the independent cmte is not reported as being blinded but this is not explicitly explained. High ROB due to outcome def and determination | 30 days following monthly evaluation of HFRS | NR | low | Outcome choice and assessment is in line with the protocol and other studies | Participants: 279 Predictor: 7 predictors (for CRT-D) Outcome events: 72 subjects with event (Low, med, high groups) Event per candidate: | NR | NR | NR | Participants with no diagnostic data were not included in the analysis (n36) | NR | NA | probably no | NA | probably yes | NA | probably no | NA |  | NA | NA | NA | NA | no | NA | NA | high | 4.1 - Total number of people with events in all risk categories as reported in table 2 is 72. 4.3 - 320 enrolled, 315 eligible, 279 with analysable data. 4.4 - NI 4.7 - NI High rob due to low number o f people with the outcome. Could also be Unclear rob due to lack of information. | high |  | low
Zile (2020) | Validation only | Observational | NA | probably yes | NA | probably yes | low |  | Participants: Patients in the Optum database with CRT-D Setting: NR Dates: 2007 - 2016 | low |  | Predictor list: Fluid index Intrathoracic impedance Heart rate variability AF burden V rate during AF % CRT pacing Night Heart rate Activity Predictor definitions: NR Timing of assessment: Continuous | NA | probably yes | NA | probably yes | NA | probably yes | low |  | low |  | Outcome: Heart failure events Outcome definition: HFE defined as patient, observation unit or emergency room stay with primary diagnosis of HF and intravenous diuresis administration Outcome determination: Scheduled monthly downloads, alert-triggered downloads, simulated daily download used to repdict 30 day risk of HFE Timing interval between predictor assessment and outcome determination: 30 days for HFE. | NA | probably yes | NA | probably yes | NA | probably yes | NA | probably no | NA | probably no | NA | probably yes | high | 3.2 - appears to be a common definition. 3.4 - subject to clinical experience, no mention or reference to a standard protocol. | 30 days following HFRS | NR | low |  | Participants: 22 901 Predictor: 8 Outcome events: Event per candidate: | NR | NR | NR | NR | NR | NA | probably yes | NA | probably yes | NA | no | NA |  | NA | NA | probably yes | NA | no | NA | NA | high | 4.4 - NI 4.7 -NI | high |  | low
Ahmed (2022) | Validation only | Prospective cohort Observational | NA | yes | NA | probably yes | low | Sound rationale for two data sources and data linkage explained. | Participants: 439 Setting: Tertiary setting Dates: 2016 -2018 | high | Tertiary setting | Predictor list: Fluid index Intrathoracic impedance Heart rate variability AF burden V rate during AF % CRT pacing Night Heart rate Activity Predictor definitions: NR Timing of assessment: Continuous | NA | yes | NA | probably yes | NA | probably yes | low |  | low |  | Outcome: all cause mortality Outcome definition: mortality was evaluated for all cases from the date of first transmission (on or after 18 April 2015), until either death occurred or the end of the evaluation period 06 November 2019. Outcome determination: Linked mortality data | NA | probably yes | NA | probably yes | NA | yes | NA | probably yes | NA | probably no | NA | yes | high | rated as low due to the objective endpoint despite use of retrospective data. 3.2 prespecified outcome - was likley retrospective becaue the orginal study aims were heartfailure event. 3.5 death was the outcome and no blinding is mentioned. This means the outcome assessors most likely had knowledge of the outcome. | anytime following after high risk status - |  | low | appropriate | Participants: 439 Predictor: 6 Outcome events: According to transmissions patients were categorized into ‘high-risk’ or ‘never high-risk’ groups. During follow-up, 285 patients (65%) had a high-risk episode and 60 patients (14%) died (50 in high-risk group; 10 in never high-risk group). Event per candidate: | NR |  | calbiration (slope and calibration in the large), discrimination (AUC), including optimism penalisation by Lasso likelihood. Uses logistic regression which does not censor participants. Cox regression would be preferred. |  |  | NA | probably no | NA | probably yes | NA | probably yes | NA |  | NA | NA | no | NA | no | NA | NA | high | 4.1 -TOTAL OF 60 PTS DIED 50 IN HIGH RISK 10 IN NEVER HIGH RISK 4.4 - MISSING DATA HANDLING NOT REPORTED 4.6 - cohort (pros and retro)/ multi-variable logisitc regression 4.7 - see suppl. Infor 4.6 Logistic regression used 4.7 Logistic regression used, PROBAST guidance suggests this is not suitable for events when there is need for censoring. | high |  | high | Tertriary setting doesn’t match PICO
Sammut-Powell (2022) | Validation only | Follow up data from Manchester Heart Centre | NA | probably yes | NA | probably yes | low | no obvious issues identified | UK patients in Manchester Heart Centre | low | No concerns about the applicability of the study to our review | NA | NA | probably yes | NA | probably no | NA | probably yes | low | No serious risk of bias identified | low | No issues identified | all cause hospitalization, cardiovascular hospitalization, heart failure hospitalization | NA | probably yes | NA | probably yes | NA | yes | NA | yes | NA | probably no | NA | yes | low | No problems identified, and objective outcome | within 30 days | NA | low | No problems identified | 435 participants predictors: atrial tachycardia burden, atrial fibrillation burden, ventricular rate during AT or AF, OptiVol fluid index, general activity, night ventricular rate, heart rate variability , percent of ventricular pacing, treated ventricular tachycardia or ventricular fibrillation, and defibrillator shocks | NA | NA | Sensitivity, Specificity and NPV | NR | NR | NA | yes | NA | probably yes | NA | probably yes | NA | NA | NA | NA | probably yes | NA | no | NA | NA | high | Model performance measures not sufficiently reported | high | Model performance measures insufficiently reported | low | No concerns about the applicability of data
Bachtinger (2021 | Validation only | follow up data from Imperial Health | NA | probably yes | NA | NA | unclear | Very limited information | UK patients in Imperial Health | low | No concerns about applicability | NA | NA | probably yes | NA | NA | NA | probably yes | unclear | Limited information from abstract | unclear | insufficient information | worsening heart failure, measured by 5 question telephone triage | NA | NA | NA | probably yes | NA | NA | NA | probably yes | NA | NA | NA | NA | unclear | Insufficient detail | NR | NA | unclear | Insufficient information reported | 435 participants predictors: atrial tachycardia burden, atrial fibrillation burden, ventricular rate during AT or AF, OptiVol fluid index, general activity, night ventricular rate, heart rate variability , percent of ventricular pacing, treated ventricula | NA | NA | Sensitivity, Specificity, PPV, and NPV | NR | NR | NA | probably yes | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | unclear | insufficient information | unclear | Limited information because abstract | unclear | Limited information because abstract
Cardoso (2021) | Validation only | Follow up data from Hospital de Santa Maria, Portugal | NA | probably yes | NA | NA | unclear | Very limited information | Patients in a Portuguese hospital | unclear | Unclear extent to which data from Portugal applicable to UK. | OptiVol (Medtronic Plc., MN, USA), patient activity, night heart rate (NHR), heart rate variability (HRV), percentage of CRT pacing, atrial tachycardia/atrial fibrillation (AT/AF) burden, ventricular rate during AT/AF (VRAF), and detected arrhythmia episodes/therapy delivered. | NA | probably yes | NA | NA | NA | NA | unclear | Limited information from abstract | unclear | insufficient information | unplanned hospitalisation within 30 days of alert | NA | yes | NA | probably yes | NA | yes | NA | yes | NA | yes | NA | yes | low | No problems identified, and objective outcome | within 30 days | NA | low | No problems identified | 35 participants; predictors: atrial tachycardia burden, atrial fibrillation burden, ventricular rate during AT or AF, OptiVol fluid index, general activity, night ventricular rate, heart rate variability , percent of ventricular pacing, treated ventricula; 1108 transmissions and 94 patient years` | NA | NA | AUC | NR | NR | NA | probably yes | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | no information | NA | unclear | insufficient information | unclear | Limited information because abstract | unclear | Limited information because abstract
Koehler (2019) | Validation only | Optum EHR database | NA | probably yes | NA | probably yes | low | no obvious issues identified | Patients in optum database | unclear | no information provided | NA | NA | probably yes | NA | NA | NA | probably yes | unclear | Limited information from abstract | unclear | insufficient information | heart failure hospitalisation within 30 days of risk score | NA | probably yes | NA | probably yes | NA | yes | probably yes | probably yes | NA | probably yes | NA | NA | low | No problems identified, and objective outcome | within 30 days | NA | low | No problems identified | 13,122 participants; predictors: atrial tachycardia burden, atrial fibrillation burden, ventricular rate during AT or AF, OptiVol fluid index, general activity, night ventricular rate, heart rate variability , percent of ventricular pacing, treated ventricula; 321,294 follow up months | NA | NA | Sensitivity, Specificity | NR | NR | NA | yes | NA | probably yes | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | unclear | insufficient information | unclear | Limited information because abstract | unclear | Limited information because abstract
D'Onofrio (2022) | Development and Validation | Patients with an ICD capabale of atrial sensing or a CRT-D LVEF 35% or less NYHA class II or III unclear regarding how patients were recruited. Prospective cohort, randomised to derivation and validation | yes | yes | yes | yes | low | eligibility criteria seems appropriate. Study design appropriate | May 2012 to March 2017 setting is unclear patients with heart failure and CRT-D or ICD | low | setting is unclear but the participants match the research question | 24hr HR, night HR, HRV, 24h activity, AHRE burden, PVC/day, thoracic impedance, SHFM constant assessment | yes | yes | yes | yes | yes | yes | low | no concerns | low | no concerns | Primary: first post implent hospitalisation for worsening HF (defined as non-electrive hospital admission with an overnight stay, triggred by symptoms, signs or objective evidence of worsening HF: LVEF, electrocardiogram, other intrumental evidence) Secondary: composite of any (first or subsequent) hospitalisation, outpatient IVI or death related to worsening HF Notes: usable data was 30+ days post implent (run-in period for algorithm stabilisation). Endpoints independently assessed by three members of board blinded to the remote monitoring data. | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | probably yes | probably yes | low | timing appears to be within acceptable limits. All outcome data is measured in the same way and acceptably | low | secondary endpoint | low | no concerns | 918 participants (derivation = 457; validation = 461) pre-determined predictors | none | random split sample | discrimination for development model Sens, Spec for both PPV and NPV for validation | None | reports missing data is mentioned as percetnages, however, not clear how it was handled | probably yes | probably yes | probably yes | probably yes | probably yes | probably yes | probably no | probably no | yes | probably no | probably no | no | no | probably yes | NA | high | concerns regarding missing data, stat analysis | high | analysis lacks calibration etc. Missing data is unclear | low | meets research question
Treskes (2021) | Validation only | Retrospective analysis of pre and post activiation. Only assessed in the post activation | NA | yes | NA | yes | low | reasonable | recruited between Jan 2018 and Dec 2019 3 hospitals Electronic medical records | low | no concerns | Heart sounds (S1 and S3) respiration rate thoracic impedance nightly heart rate physical activity | NA | yes | NA | no | NA | yes | low | no concerns | low | no concerns | HF admission = unscheduled hospital admission for a primary diagnosis of HF with a length of stay that either exceeds 24h or crosses a calendar day | NA | yes | NA | yes | NA | yes | NA | yes | NA | probably no | NA | probably yes | low | while the predictor information was likely known, we do not think this would negatively impact the results |  | NA | low | no concerns | 74 patients, 68 included in analysis due to deaths and 1 loss to follow up. Pre-determined predictors. | none | NA | sens and spec | 5 deaths and 1 lost to follow up | NR | NA | probably no | NA | NA | NA | no | NA | probably yes | NA | NA | NA | NA | no | NA | NA | high | lacks analysis, small sample size | high | analysis | low | meets research question
Henry (2022) | Validation only | Retrospective cohort | NA | yes | NA | probably yes | low | Lacks information, however, seems appropriate | Jab 2018 to July 2021, medical records (assumed), CRT-D or ICD | low | no concerns | NA | NA | NA | NA | NA | NA | NA |  | NA |  |  | HF events with or without alert | NA | yes | NA | yes | NA | yes | NA | yes | NA | yes | NA | NA | low | time interval question is likely not relevant given retrospective design |  | NA | low | no concerns | 22 patients, heartlogic, 10 HF events, 7 with an alert | none | NA | Sens only | NR | NR | NA | no | NA | NA | NA | probably yes | NA | NA | NA | NA | NA | NA | no | NA | NA | high | lacks analysis, small sample size | high | analysis | low | meets research question
De Juan Baguda (2022) | Validation only | Phase 1 - retrospective | NA | yes | NA | probably yes | low |  | Sept 2019 to Sept 2020, CRT-D or ICD | low | no concerns | NA | NA | NA | NA | NA | NA | NA |  | NA |  |  | HF event (hospitalisation) | NA | yes | NA | yes | NA | yes | NA | yes | NA | yes | NA | probably yes | low | retrospective data blinded |  | NA | low | no concerns | 101 patients, 9 patients hospitalised | none | NA | Sens, spec, PPV, NPV | NR | NR | NA | probably no | NA | NA | NA | yes | NA | NA | NA | NA | NA | NA | no | NA | NA | high | analysis and small numbers of events | high | analysis | low | meets research question
De Juan Baguda (2022) | Validation only | Phase 2 and 3 - retrospective + prospective | NA | probably yes | NA | probably yes | low | Combining retro and pros data | Sept 2019 to Sept 2020, CRT-D or ICD | low | no concerns | NA | NA | NA | NA | NA | NA | NA |  | NA |  |  | HF event (hospitalisation) | NA | yes | NA | yes | NA | yes | NA | yes | NA | no | NA | probably yes | unclear | no blinding, combination of retrospective and prospective means the risk is unclear |  |  | low | no concerns | 187 patients, 27 HF hospitalisations | none | NA | Sens, spec, PPV, NPV | NR | NR | NA | probably no | NA | NA | NA | yes | NA | NA | NA | NA | NA | NA | no | NA | NA | high | analysis and small numbers of events | high | analysis and combination of retrospective and prospective cohorts without blinding makes it unclear. | low | meets research question
Wariar (2023) | Validation only | retrospective cohort | NA | yes | NA | probably yes | unclear | lack of information | timing not presented, CRT and ICD used, registry data | low | no concerns | NA | NA | NA | NA | NA | NA | NA |  | NA |  |  | HF events (primary HF diagnosis codes, and included inpatient events as well as outpatient events with IV diuretic therapy) | NA | yes | NA | yes | NA | yes | NA | yes | NA | probably no | NA | probably yes | unclear | maybe at risk for knowledge fo the predictors | retrospectively - study dates NR | NA | low | no concerns | 4190 patients identified, 1567 linked patients with available data. Heartlogic, number of HF events = 435 | none | NA | Sens and FPR | NR | NR | NA | yes | NA | NA | NA | probably yes | NA | NA | NA | NA | NA | NA | no | NA | NA | high | censoring not considered as death is not an outcome. Analysis does not present enough data | high | analysis | low | meets research question
Santobuono (2023) | Validation only | prospective cohort | NA | yes | NA | probably yes | unclear | lacks information regarding exclusions | 2017-2021, median follow up 26 months, CRT and ICD | low | no concerns | NA | NA | NA | NA | NA | NA | NA |  | NA |  |  | Hospitalisations alone and hospitalisations combined with death | NA | yes | NA | yes | NA | yes | NA | yes | NA | no | NA | probably yes | low | no blinding but effect bias is likely to be small | prospective study, median follow up reported | NA | low | no concerns | 568 patients, 198 had no alerts. 53 hospitalisations and 55 deaths | none | NA | Sens and FPR | NR | NR | NA | probably yes | NA | NA | NA | yes | NA | NA | NA | NA | yes | NA | no | NA | NA | high | only sens and FPR are reported | high | analysis | low | meets research question
Boehmer (2017) | Development and Validation | prospective cohort | yes | yes | yes | yes | low | Elgibility criteria was thorough, although it may have excluded some key patients. | July 2010 to Oct 2013, CRT used | low | no concerns | heart sounds (S1 and S3) Thoracic impedance Respiration rate Ratio of repiration rate to tidal volume Heart rate Activity Combined to create threshold index score | yes | yes | probably no | probably no | yes | yes | low | Development team were blinded to the validation data until it was time to validate. Suggests the predictor assessors knew the outcomes, however, the assessmet is constant using the device and I don't think this would cause bias | low | no concerns | HF events (reviewed by committee: all hospitalisations and clinic visits with any IV treatments or augmented oral HF therapies. An event was classified as HF event if the primary cause was worsening HF and either 1. admitted and incurred a calendar data change or 2. received 1 or more IV meds, aquapheresis or other parenteral therapy) Data was considered usable if they occurred at least 45 days after initiation of sensor data collection and before device reconversion. Note: of 127 HF events, 96 were considered usable. 15 occurred within the 45 days and 16 did not meet data availibility criteria | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | probably yes | probably yes | low | committee members blinded (I assume they are acting as the reference standard) | I think they compare what happened in the clinical setting to what the committee think? | NA | low | no concerns | Enrolled Development = 531 Validation = 443 Analysed Development = 500 Validation = 400 of 127 HF events, 96 were considered usable. 15 occurred within the 45 days and 16 did not meet data availibility criteria | none | externally | Sens, spec, PPV, NPV (validation), Sens for development | Development = 531 patients, 28 withdrew before conversion visit. After SRD conversion 24 died, 8 withdrew, final n = 468 (93.6%) Validation = 443 patients, 38 withdrew before conversion visit, 1 died before conversion visit, 1 withdrew at the visit. After SRD conversion 12 died and 3 withdrew. Final n = 385 (96.2%) Note: states that the excluded patients were included in the development model and showed no changes to the sensitivity | of 127 HF events, 96 were considered usable. 15 occurred within the 45 days and 16 did not meet data availibility criteria | yes | probably yes | NA | NA | no | no | NA | NA | yes | no | no | no | no | no | NA | high | analysis lacks further metrics, concerns regarding complexities (i.e. deaths) | high | analysis | low | meets research question
De Ruvo (2019) | Validation only | prospective cohort | NA | yes | NA | no | high | lack of information | CRT-D or ICD dates unknown | low | no concerns | NA | NA | NA | NA | NA | NA | NA |  | NA |  |  | hospitalisations and unplanned clinic visits | NA | probably yes | NA | probably yes | NA | yes | NA | probably yes | NA | probably no | NA | probably yes | unclear | made some assumptions, so unclear as lack of information | time point is unclear but likely not effected |  | low | no concerns | 101 patients, unclear on number of outcomes | none | NA | Sens and PPV (only blinded phase assessed) | NR | NR | NA | probably no | NA | NA | NA | probably yes | NA | NA | NA | NA | NA | NA | no | NA | NA | high | lacks analysis, small sample size | high | anlaysis and limited information | low | meets research question