## DSLF
CP6 Distribution System Loss Factors (DSLFs)
| ESTA | Description | CP6 DSLF: AC | CP6 DSLF: DC
| M | Merseyside | N/A | 0.1113
| N | Midland Main Line | 0.0279 | N/A
| O | London Tilbury and Southend | 0.0264 | N/A
| P | Great Eastern | 0.0272 | 0.1113
| Q | West Anglia | 0.0428 | N/A
| R | East Coast Main Line South | 0.023 | 0.1113
| A | East Coast Main Line Central | 0.0303 | N/A
| B | East Coast Main Line North | 0.0548 | N/A
| C | East Coast Main Line Leeds | 0.0409 | N/A
| S | Scotland Glasgow | 0.0424 | N/A
| D | Scotland East | 0.0462 | N/A
| E | Scotland North and West | 0.0311 | N/A
| F | Scotland WCML | 0.0356 | N/A
| T | West Coast Main Line South | 0.0295 | 0.1113
| G | West Coast Main Line Central | 0.0362 | N/A
| H | West Coast Main Line Midlands | 0.0299 | N/A
| J | West Coast Main Line North | 0.0361 | N/A
| U | Southern | N/A | 0.1113
| V | Great Western (soon to be renamed ‘Western East’) | 0.0119 | N/A
| I | Western (soon to be renamed ‘Western West’) | 0.0254 | N/A
| K (soon to be renamed ‘3’) | South Wales | 0.0254 | N/A