## Table 1
Please complete the below table with the most accurate data you have available. Where accurate data is not available, please give an estimate based on prelimary, expected or estimated data (indicating where you have done so and explain the rationale behind the estimates). If no data is available then please explain why. If you would like to submit other relevant data / information relating to the incident then please do so, making clear why this should be taken into account.
Table 1 - Freeze/Thaw Incident information by date
| Units | Dates (Clearly specify in red the dates that your company considered it was managing events rather than business as usual - the end date should be no earlier than all customers being back on supply) If you consider it appropriate, you may extend the date range (eg to the start of February) and explain why additional dates are relevant. You may not choose a smaller range of dates. | [26 empty] | Notes
|  | 2018-02-16 | 2018-02-17 | 2018-02-18 | 2018-02-19 | 2018-02-20 | 2018-02-21 | 2018-02-22 | 2018-02-23 | 2018-02-24 | 2018-02-25 | 2018-02-26 | 2018-02-27 | 2018-02-28 | 2018-03-01 | 2018-03-02 | 2018-03-03 | 2018-03-04 | 2018-03-05 | 2018-03-06 | 2018-03-07 | 2018-03-08 | 2018-03-09 | 2018-03-10 | 2018-03-11 | 2018-03-12 | 2018-03-13 | 2018-03-14
Number of mains bursts | # | 42 | 27 | 20 | 40 | 50 | 38 | 32 | 44 | 29 | 27 | 25 | 27 | 3 | 4 | 19 | 31 | 36 | 51 | 81 | 86 | 62 | 54 | 35 | 26 | 26 | 16 | 27 | Bursts / Leaks promoted
Average repair response time | hours | 26.8542 | 24.1725 | 28.3359 | 46.6243 | 39.8861 | 57.5509 | 35.6589 | 33.9884 | 32.2232 | 51.0181 | 38.3966 | 52.8932 | 22.7544 | 6.7506 | 60.4198 | 47.333 | 29.2334 | 51.007 | 42.3668 | 40.1004 | 36.3121 | 41.9404 | 34.3964 | 31.9919 | 42.0798 | 40.2516 | 29.4709 | Mean Average Cycle Times (Released to Completion)
Number of reported customer side leaks | # | 27 | 20 | 8 | 35 | 40 | 30 | 46 | 33 | 12 | 12 | 30 | 25 | 13 | 14 | 31 | 13 | 21 | 88 | 48 | 44 | 46 | 40 | 15 | 20 | 38 | 45 | 33 | Bursts / Leaks promoted
Average repair response time | hours | 162.4291 | 108.7506 | 310.998 | 241.4517 | 311.4312 | 82.3412 | 205.257 | 118.9043 | 63.9773 | 57.9186 | 281.2903 | 117.9887 | 137.807 | 78.3754 | 88.7927 | 42.0001 | 46.524 | 47.4983 | 152.7597 | 66.3778 | 108.8529 | 97.2992 | 60.2261 | 48.2186 | 114.0102 | 126.6762 | 133.0069 | Mean Average Cycle Times (Released to Completion)
Number of reported supply side leaks | # | 45 | 16 | 10 | 43 | 44 | 36 | 37 | 32 | 32 | 35 | 41 | 51 | 3 | 2 | 30 | 18 | 14 | 31 | 36 | 44 | 39 | 33 | 20 | 28 | 40 | 35 | 38 | Bursts / Leaks promoted
Average repair response time | hours | 67.7478 | 45.5541 | 51.3921 | 106.387 | 73.8426 | 65.3035 | 57.0458 | 62.5311 | 60.517 | 51.8465 | 59.0879 | 60.0232 | 224.8808 | 48.3853 | 85.6341 | 76.5235 | 89.271 | 114.1869 | 138.7025 | 68.1142 | 108.2664 | 90.1816 | 41.0754 | 49.8151 | 76.3445 | 82.87 | 50.159 | Mean Average Cycle Times (Released to Completion)
Estimated leakage | Ml/d | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Figures not provided as per Paul Martin (OFWAT) email received 29/03/18
Distribution input | Ml/d | 1293.2672 | 1275.2885 | 1294.7971 | 1301.5788 | 1284.9262 | 1305.1835 | 1314.033 | 1286.6145 | 1280.9151 | 1309.2667 | 1313.0479 | 1261.8534 | 1275.9867 | 1286.832 | 1342.9013 | 1318.9535 | 1426.8961 | 1467.3263 | 1399.7622 | 1391.3203 | 1368.6841 | 1362.4129 | 1335.9058 | 1347.1151 | 1330.9598 | 1318.2599 | 1332.0181
Operational leakage tracking | Ml/d | 327.1237 | 327.5648 | 327.6201 | 327.6624 | 328.1796 | 325.9095 | 324.4882 | 322.7439 | 321.2748 | 319.9341 | 318.7574 | 317.9746 | 316.9161 | 320.8024 | 322.2924 | 324.0493 | 326.035 | 331.3026 | 338.6916 | 348.6067 | 358.231 | 363.5395 | 364.0649 | 361.3166 | 357.4393 | 352.2739 | 347.6648 | Figures from our leakage tracker on 22/03/2018 including allowances for uncertainty and risk
Number of customers experiencing supply interruptions at some point during the day | # | 2262 | 64 | 1900 | 73 | 14 | 746 | 366 | 16 | 38 | 50 | 40 | 35 | 242 | 38 | 235 | 984 | 388 | 1837 | 59 | 43 | 36 | 1416 | 208 | 0 | 4 | 68 | 19
Volume of water distributed to customers using alternative supplies (eg bottled water, bowsers) | litres | 0 | 0 | 960 | 960 | 960 | 3864 | 984 | 24 | 0 | 0 | 0 | 1920 | 1968 | 0 | 2376 | 6120 | 2952 | 6144 | 192 | 0 | 2976 | 120 | 0 | 984 | 2880 | 24 | 984 | Calculated from pallets utilisied to driectly deliver bottled water to customers.
Number of water bottle collection points in operation | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Number of operational (being used) water collection points.
Minimum Night Flow (MNF) | Ml/d | 0.018813 | 0.01881 | 0.018862 | 0.018749 | 0.018719 | 0.018618 | 0.018526 | 0.018383 | 0.01839 | 0.018499 | 0.018353 | 0.018278 | 0.018261 | 0.018296 | 0.018338 | 0.018639 | 0.018691 | 0.019005 | 0.019279 | 0.019607 | 0.019933 | 0.020095 | 0.02009 | 0.01998 | 0.019495 | 0.019155 | 0.018993 | From Water Balance - Measured
Number of customers experiencing low pressure | # | 28 | 12 | 3 | 30 | 22 | 28 | 29 | 29 | 9 | 4 | 29 | 14 | 24 | 16 | 23 | 13 | 14 | 39 | 39 | 25 | 19 | 17 | 15 | 4 | 25 | 16 | 14 | Low Pressure jobs promoted
Average repair response time | hours | 226.6018 | 251.0125 | 47.5333 | 127.5283 | 99.1568 | 137.0738 | 141.8552 | 161.0954 | 99.7704 | 53.2167 | 191.0529 | 143.3667 | 241.809 | 330.1687 | 99.7855 | 104.2962 | 118.0202 | 98.4919 | 103.8009 | 190.4053 | 177.9886 | 245.4363 | 153.0078 | 161.85 | 190.6853 | 266.6656 | 188.4048 | Mean Average Cycle Times (Released to Completion)
Total number of customer contacts | # | 1346 | 875 | 377 | 1871 | 1561 | 1855 | 1510 | 1477 | 636 | 365 | 1618 | 1170 | 1776 | 1733 | 1827 | 1463 | 930 | 2474 | 2190 | 1882 | 1638 | 1846 | 875 | 537 | 2359 | 2029 | 1705 | Summary of all contacts below | .
Total number of customer contacts by phone | # | 697 | 529 | 229 | 1051 | 871 | 1008 | 831 | 818 | 392 | 206 | 886 | 628 | 924 | 1107 | 1261 | 1049 | 751 | 1582 | 1395 | 1077 | 983 | 1076 | 575 | 322 | 1385 | 1186 | 1036 | Contacts taken from SIM qual reporting table - used to provide data for SIM survey
Total number of customer contacts by email | # | 34 | 11 | 7 | 73 | 59 | 46 | 37 | 30 | 14 | 10 | 36 | 46 | 58 | 40 | 51 | 7 | 7 | 71 | 67 | 59 | 52 | 56 | 6 | 19 | 75 | 53 | 46 | Contacts taken from SIM qual reporting table - used to provide data for SIM survey
Total number of customer contacts by social media | # | 153 | 89 | 70 | 248 | 197 | 228 | 233 | 233 | 88 | 71 | 262 | 171 | 167 | 111 | 117 | 104 | 65 | 224 | 242 | 250 | 213 | 246 | 111 | 98 | 338 | 261 | 185 | Contacts taken from SIM qual reporting table - used to provide data for SIM survey
Total number of customer contacts by physical contact | # | 1 | 1 | 1 | 10 | 13 | 5 | 2 | 3 |  |  | 2 | 6 | 10 | 1 | 4 |  |  | 2 | 3 | 2 | 5 | 3 | 1 |  | 5 | 4 | 4 | Contacts taken from SIM qual reporting table - used to provide data for SIM survey
Total number of customer contacts by SMS | # | 6 | 54 | 1 | 6 | 14 | 24 | 13 | 11 | 4 | 7 | 5 | 3 | 22 | 20 | 12 | 18 | 10 | 13 | 20 | 7 | 8 | 25 | 9 | 5 | 8 | 9 | 3 | Replies to proactive blaster texts
Total number of customer contacts by hard copy letter | # | 136 | 3 | 8 | 187 | 143 | 162 | 167 | 144 | 11 | 6 | 166 | 152 | 121 | 94 | 102 | 8 | 7 | 172 | 138 | 173 | 147 | 156 | 7 | 7 | 164 | 196 | 147 | Contacts taken from SIM qual reporting table - used to provide data for SIM survey
Total number of customer contacts by other (please specify) | # | 319 | 188 | 61 | 296 | 264 | 382 | 227 | 238 | 127 | 65 | 261 | 164 | 474 | 360 | 280 | 277 | 90 | 410 | 325 | 314 | 230 | 284 | 166 | 86 | 384 | 320 | 284 | Webchat and call back taken from Synthetix reporting
Average waiting time for response | hours | 67 seconds | 102 seconds | 19 seconds | 24 seconds | 52 seconds | 75 seconds | 41 seconds | 51 seconds | 28 seconds | 26 seconds | 20 seconds | 6 seconds | 108 seconds | 132 seconds | 16 seconds | 47 seconds | 50 seconds | 100 seconds | 88 seconds | 12 seconds | 10 seconds | 26 seconds | 44 seconds | 15 seconds | 55 seconds | 63 seconds | 38 seconds | Average response time after initial call steering message
Number of times your company webiste was updated with the latest situational information per day | # | 18 | 12 | 7 | 24 | 28 | 23 | 20 | 21 | 8 | 8 | 22 | 27 | 5 | 5 | 14 | 11 | 17 | 20 | 16 | 27 | 21 | 20 | 10 | 12 | 22 | 29 | 35 | Region wide and event specific updates made to the Yorkshire Water website
Average water temperature entering the supply network | oC | 4.3 | 4.2 | 3.7 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.6 | 3.4 | 3.4 | 3 | 2.9 | 2.7 | 2.7 | 2.7 | 2.7 | 2.7 | 2.9 | 3 | 3 | 3.2 | 3.4 | 3.4 | Temperatures recorded at Water Treatment Works supplied by river and reservoir sources.
Air temperature minimum | oC | 0 | 1 | -1 | 6 | 5 | 2 | -2 | -4 | 0 | -2 | -2 | -4 | -8 | -6 | -1 | -2 | 0 | 2 | 3 | 0 | -1 | 0 | 4 | 1 | 3 | 1 | 0
Air temperature maximum | oC | 7 | 6 | 8 | 11 | 10 | 8 | 5 | 4 | 6 | 4 | 2 | 1 | -3 | 1 | 1 | 1 | 4 | 9 | 7 | 9 | 7 | 10 | 12 | 11 | 6 | 9 | 11
Weather warning for Company area of supply | (N/A, Yellow, Amber, Red)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yellow Snow | Yellow Snow | Amber Snow | Amber Snow | Amber Snow | Amber Snow | Amber Snow | Yellow Snow/Ice | Yellow Ice | Yellow Ice | N/A | N/A | Yellow Snow | N/A | N/A | N/A | N/A | N/A | N/A | Yellow Snow/Ice
Weather warning likelihood for Company area of supply | (N/A, Very Low, Low, Medium, High)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Medium | Medium | Medium | Medium | Medium | Medium | Medium | Medium | Medium | Medium | N/A | N/A | Medium | N/A | N/A | N/A | N/A | N/A | N/A | N/A
* Using Met Office definitions: https://www.metoffice.gov.uk/guide/weather/warnings

## Table 2
Table 2 - Customer supply interruption information by customer type
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 46883 | n/a | n/a | n/a
Percentage of the company's customers affected | % | 2.047% | n/a | n/a | n/a
Number of customers experiencing supply interruptions less than 4 hours | # | 38933 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 7883 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 47 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 16 | n/a | n/a | n/a
Number of customers experiencing supply interruptions more than 48 hours | # | 4 | n/a | n/a | n/a
Table 2a - Customer supply interruption information by customer type (Confirmed)
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 41394 | n/a | n/a | n/a
Percentage of the company's customers affected | % | 1.808% | n/a | n/a | n/a
Number of customers experiencing supply interruptions less than 4 hours | # | 38602 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 2756 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 36 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 0 | n/a | n/a | n/a
Number of customers experiencing supply interruptions greater than 48 hours | # | 0 | n/a | n/a | n/a
Table 2b - Customer supply interruption information by customer type (Estimated*)
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 5489 | n/a | n/a | n/a
Percentage of the company's customers affected | % | 0.2397% | n/a | n/a | n/a
Number of customers experiencing supply interruptions less than 4 hours | # | 331 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 5127 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 11 | n/a | n/a | n/a
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 16 | n/a | n/a | n/a
Number of customers experiencing supply interruptions more than 48 hours | # | 4 | n/a | n/a | n/a
*Table 2b is made up of data which is currently under review, from events which occurred within the dates stated. This initial estimate (subject to full review) is completed by the Service Events Coordinator at the end of the event. Historic reviews over the last two years have demonstrated a 40% reduction on the intial estimate. So, for reporting purposes, a 40% reduction has been applied to the estimated property number impact.

## Row 15 - Estimated Leakage
A. The above graph shows our current estimated daily leakage for the year (green) compared with our seasonally planned target (red).
B. At this stage there remains uncertainty in the estimated annual leakage due to the number of components requiring finalisation, validation and assurance. The graph illustrates how close to the target the annual estimated leakage will be. The assurance activities necesary to support a robust calculation for annual leakage will be completed as part of our Annual Performance Reporting processes.
C. Not withstanding point B, we can be confident the estimated annual leakage will be within the performance commitment deadband agreed with customers and included in FD09.
D. We can also be confident that the three year estimated rolling leakage will be better than the target.